## Domestic
Domestic sector
Green pot sizes are the result of 10% dwellings not achieving target by 50%, under the 3 growth levels assumed by WECA. Blue figures assume 25% flats don't achieve target by 50%. Assume all other dwelling types will achieve target.
Growth levels - total number of dwellings
scenario 1 | 102800 | [6 empty] | example:
scenario 2 | 115000 | [6 empty] | no. flats | 18
scenario 3 | 127200 | [6 empty] | total demand | 34713 | kWh.yr
[8 empty] | annual shortfall if achieve 75% on site | 8678.25 | kWh.yr
Percentage of flats (based on proportion assumed in previous study) | 17.3333 | [6 empty] | lifetime shortfall | 260347.5 | kWh
Floorspace (from EHS) | 55.1 | m2 | [5 empty] | emissions factor | 136 | gCO2/kWh
LETI standard | 35 | kWh/m2/yr | [5 empty] | lifetime emissions | 35407260 | g/CO2 | 35.4073 | t/CO2
demand per flat | 1928.5 | kWh/yr | [5 empty] | cost per kWh | 0.091 | payment required | 23691.6225
offset price - based on Charlton House | 1529.2 | £/kW | [5 empty] | cost per tCO2 | 668.15 | payment required | 23657.3608
34.2617
total dwellings | total flats | number of flats not achieving (10%) | total demand for flats not achieving | shortfall of 10% from flats not achieving | lifetime shortfall | cost | kWp needed | pot size (10% not achieving by 50%) | number of 3 kw rooftop pv installations | number of flats not achieving (20%) | total demand for flats not achieving | shortfall of 10% | annual shortfall | cost | kWp needed | pot size (25% not achieving by 50%) | number of 3 kw rooftop pv installations
102800 | 17818.6667 | 1781.8667 | 3436329.8667 | 1718164.9333 | 51544948 | 4690590.268 | 1867.9767 | 2856509.9109 | 622.6589 | 4454.6667 | 8590824.6667 | 4295412.3333 | 128862370 | 11726475.67 | 4669.9417 | 7141274.7773 | 1556.6472
115000 | 19933.3333 | 1993.3333 | 3844143.3333 | 1922071.6667 | 57662150 | 5247255.65 | 2089.6626 | 3195512.0599 | 696.5542 | 4983.3333 | 9610358.3333 | 4805179.1667 | 144155375 | 13118139.125 | 5224.1565 | 7988780.1497 | 1741.3855
127200 | 22048 | 2204.8 | 4251956.8 | 2125978.4 | 63779352 | 5803921.032 | 2311.3486 | 3534514.2088 | 770.4495 | 5512 | 10629892 | 5314946 | 159448380 | 14509802.58 | 5778.3714 | 8836285.5221 | 1926.1238
1922071.6667
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: See separate spreadsheet for assumed NS contribution to these figures

## Non-domestic
Non-domestic sector
scenarios are based on number of buildings not achieving standard by 5%
1529.2 | offset price - based on Charlton House |  |  |  | 0.091 | £/kWh - offset price based on new data
Office:
LETI target | 55 | kWh/m2/yr
assume floor area of: | 4358 | m2
total building demand | 239690 | kWh/m2/yr | 359535 | over lifetime
shortfall 5% | 11984.5 |  | 32717.685 | cost per building
kWp needed | 13.0295 |  | 1635884.25 | x50
per building | 19924.6547 |  | 8179421.25 | x250
50 buildings | 996232.7354
250 buildings | 4981163.6769
School:
LETI target | 65 | kWh/m2/yr
assume floor area of: | 9318 | m2
total building demand | 605670 | kWh/m2/yr
shortfall 5% | 30283.5 |  | 908505 | over lifetime
kWp needed | 32.924 |  | 82673.955 | cost per building
per building | 50347.3888 |  | 413369.775 | x5
5 buildings | 251736.9439